## Slide 1: Disputed DNA Stats for a Low-level Sample: A Case Study
By
Dan Krane – Dan.Krane@Wright.edu
Carrie Rowland – Rowland@Bioforensics.com
Nathan Adams – Adams@Bioforensics.com

## Slide 2: Financial disclosure
Employees of Forensic Bioinformatic Services, Inc.

## Slide 3: Case facts
Alleged sexual assault
Sample from underwear
  1 nanogram amplified, using Identifiler® (15 autosomal loci)
Victim apparent major profile
“Minimal” minor profile
Notes: Unknown number of contributors is the correct assumption in this case, and this lab should be applauded where other labs fail to make this distinction.

## Slide 4
 | Vic | Sus | Major | Minor
D8 | 13, 16 | 16, 16 | 13, 16 | -
D21 | 27, 29 | 29, 33.2 | 27, 29 | -
D7 | 11, 11 | 11, 12 | 11, 11 | -
CSF | 10, 11 | 9, 9 | 10, 11 | -
D3 | 15, 18 | 15, 17 | 15, 18 | -
THO1 | 8, 9 | 6, 9.3 | 8, 9 | 6, 9.3
D13 | 10, 13 | 11, 11 | 10, 13 | 11
D16 | 13, 13 | 12, 13 | 13, 13 | -
D2 | 18, 21 | 19, 23 | 18, 21 | 19
D19 | 13, 14 | 12, 16 | 13, 14 | -
vWA | 15, 17 | 14, 19 | 15, 17 | -
TPOX | 9, 10 | 10, 12 | 9, 10 | -
D18 | 16, 16 | 14, 18 | 16, 16 | 14
Amel | X, X | X, Y | X, X | X, Y
D5 | 11, 12 | 10, 10 | 11, 12 | -
FGA | 24, 25 | 23, 26 | 24, 25 | -
Notes: Artificial profile similar to the one presented in the case.
Additional concerns were voiced about the allele calling, but not about these five called alleles.
Dropout must have occurred if the suspect is included: D7, CSF, D3, D16, D2, D19, vWA, TPOX, D18, D5, FGA.
Amelogenin isn’t used in statistics.

## Slide 5: “Minimal” minor
 | Vic | Sus | Major | Minor
THO1 | 8, 9 | 6, 9.3 | 8, 9 | 6, 9.3
D13 | 10, 13 | 11, 11 | 10, 13 | 11
D2 | 18, 21 | 19, 23 | 18, 21 | 19
D18 | 16, 16 | 14, 18 | 16, 16 | 14
Notes: Missing the 19 @ D2 and 18 @ D18 – Dropout MUST have occurred if suspect is included.

## Slide 6: “Minimal” minor
5 alleles at 4 loci
“1 or more than 1 contributors”
1 in 220 unrelated individuals

## Slide 7: Calculated locus stats
 | Minor
THO1 | 0.633
D13 | 0.524
D2 | 0.059
D18 | 0.231
Total | 0.0045
Or 1-in-220 unrelated individuals
*
*
*
=

## Slide 8: Points of contention
Dropout + no assumed number of minor contributors
Nomenclature
  Lab claimed to have “modified” the Random Match Probability (RMP)

## Slide 9: “Minimal” minor
 | Minor
THO1 | 6, 9.3
D13 | 11
D2 | 19
D18 | 14

## Slide 10: TH01 – 6, 9.3
Allele | Profiles
6 | 6,6
9.3 | 6, all but 6
 | 9.3,9.3
 | 9.3, all but 9.3
 | -6,9.3
Locus Freq. | 0.633

## Slide 11: D13 - 11
Allele | Profiles
11 | 11, 11
 | 11, all but 11
Locus Freq. | 0.524

## Slide 12: D2 - 19
Allele | Profiles
19 | 19, 19
 | 19, all but 19
Locus Freq. | 0.059

## Slide 13: D18 - 14
Allele | Profiles
14 | 14, 14
 | 14, all but 14
Locus Freq. | 0.231

## Slide 14: “Minimal” minor
 | Minor | 
THO1 | 6, 9.3 | [6, 6] [9.3, 9.3] [6, 9.3] [6, _] [9.3, _]
D13 | 11 | [11, 11] [11, _]
D2 | 19 | [19, 19] [19, _]
D18 | 14 | [14, 14] [14, _]
Notes: Where _ is any allele, including dropout.

## Slide 15: Contributors accounted for by reported stat
 | Minor | A | B
THO1 | 6, 9.3 | 6, _ | 9.3, _
D13 | 11 | 11, _ | 11, _
D2 | 19 | 19, _ | 19, _
D18 | 14 | 14, _ | 14, _
Notes: Two examples of genotypes accounted for by this statistical calculation. This explanation necessarily requires two contributors because A and B each account for only one of the two alleles observed at TH01.
Where _ can be any allele, including the one already indicated or dropout.

## Slide 16: Lab stat vs. SWGDAM modified RMP
Defense: “… SWGDAM specifically says … you could only use a modified RMP when you actually assume a particular number of contributors, right?”
Lab: “They actually say the unrestricted. They don't use the term ‘modified’, so we're modifying it.”

## Slide 17: SWGDAM – modified RMP
4. Statistical Analysis of DNA Typing Results
“…this document also applies the term RMP to mixture calculations where the number of contributors is assumed (this has sometimes been referred to as a ‘modified RMP’).”

## Slide 18: Modified Random Match Probability (mRMP)
“By definition, the RMP is calculated on a single-source profile, so for a mixture sample, … this approach is often called a ‘modified’ RMP (mRMP).” (Butler 2014)

## Slide 19: SWGDAM – RMP vs. CPI
“By using the RMP nomenclature, these calculations are distinguished from the CPI nomenclature which is commonly thought of in terms of a mixture calculation that makes no assumption as to the number of contributors.”

## Slide 20: Lab stat
Defense: “But didn't the ultimate number you came up with assume that it was all from the same person?”
Lab: “No, it did not.”
Notes: This is a problem, so let’s explore what explanations could involve multiple contributors.

## Slide 21: What the lab said
“…statistically I'm taking into account any dropout that could possibly be occurring instead of saying that all those alleles are there and it's that one person…” [emphasis added]
Notes: Testimony at admissibility hearing

## Slide 22: What the calculations say
At the TH01 locus, a contributor must have a 6 or a 9.3
At the other three loci, a contributor must have the observed allele
Reported cumulative product
Notes: Testimony at admissibility hearing

## Slide 23: What this means
“statistically I’m taking into account any dropout that could possibly be occurring” … as long as the dropout is always for alleles we didn’t see and the contributor(s) otherwise match the observed “minimal” minor profile at one allele per locus.
Notes: Testimony at admissibility hearing with a corrected, specific explanation of the meaning of the calculated stat. The final stat provides an answer to a question that was never asked, though the lab claims it is relevant to the investigation.

## Slide 24: Contributors accounted for by reported stat
 | Minor | A | B
THO1 | 6, 9.3 | 6, _ | 9.3, _
D13 | 11 | 11, _ | 11, _
D2 | 19 | 19, _ | 19, _
D18 | 14 | 14, _ | 14, _

## Slide 25: What if we allow for locus dropout?
Notes: This is a problem, so let’s explore what explanations could involve multiple contributors.

## Slide 26: Contributors NOT accounted for by reported stat
 | Minor | A | B
THO1 | 6, 9.3 | 6, _ | 9.3, _
D13 | 11 | _, _ | 11, _
D2 | 19 | 19, _ | _, _
D18 | 14 | 14, _ | 14, _
Notes: Where _ can be any allele, including the one already indicated or dropout.
These hypothetical contributors can account for the observed data in the “minimal” minor. But they are not accounted for by the statistic reported by the laboratory.

## Slide 27: Contributors NOT accounted for by reported stat
 | Minor | A | B | C
THO1 | 6, 9.3 | 6, _ | _, _ | 9.3, _
D13 | 11 | _, _ | 11, _ | _, _
D2 | 19 | 19, _ | _, _ | _, _
D18 | 14 | 14, _ | 14, _ | _, _
Notes: Where _ can be any allele, including the one already indicated.

## Slide 28: “modification of” RMP
Lab: “…what our laboratory uses is a modification of an unrestricted random match probability.”
Defense: “And is it modified because you're applying it to unknown numbers of contributors?”
Lab: “Yes, that's correct.”
Defense: “Very good.”
Lab: “And it allows for dropout.”

## Slide 29: “modification of” RMP
Lab: “We've been using the same statistical calculations since we started PCR STR testing 15 years ago.”

## Slide 30: Daubert decision
“…such a formula appears wholly contradictory to the only portion of the [SWGDAM] Guidelines that sound non-permissive.”

## Slide 31: Daubert decision
“The formula [Lab] used did not rely on a conclusive determination whether allelic dropout had occurred or on a specific number of contributors, making its probability statistic misleading at best.”

## Slide 32: Daubert decision
“Even if this Court were to determine that [Lab]’s formula, its application in this case, and the resulting statistical conclusion were reliable, the evidence fails the M.R.E. 403 balancing test. The probative value is minimal.”

## Slide 33: Daubert decision
“…the probative value is outweighed by the danger of unfair prejudice, misleading the panel members, and waste of time.”

## Slide 34: References
SWGDAM (2010) Interpretation Guidelines for Autosomal STR Typing by Forensic DNA Laboratories
Butler, J. M. (2014). Advanced topics in forensic DNA typing: interpretation. Academic Press.
  Appendix 4, “Worked Mixture Example” by Michael Coble

## Slide 35: Disputed DNA Stats for a Low-level Sample: A Case Study
By
Dan Krane – Dan.Krane@Wright.edu
Carrie Rowland – Rowland@Bioforensics.com
Nathan Adams – Adams@Bioforensics.com
Available at – www.bioforensics.com

## Slide 36: Important notes
> 12:1 mixture
Stutter threshold applied per SOPs
Evidence tested before references
References tested before stats
Notes: At one locus, the two major peaks were 28x and 32x larger than the single minor peak.